## Contents Lst
LIMPOPO DEPARTMENT OF HEALTH - CONTRACT HEDP008/20/21 |  | VOLUME D.1
STEAM INFRASTRUCTURE |  | v1.0 - Feb'20
VOLUME D.1 | CONTENTS OF RATES TABLES
When pricing the Schedules of Rates, tenderers should take note of the stipulations of the Particular Specifications & Pricing Instructions (Issued under separate cover).
Sub-Section | Titles of Sub-Sections
SCHEDULE D.1.A | CROSS-CUTTING ITEMS
SCHEDULE D.1.B | BOILER HOUSE
SCHEDULE D.1.C | STEAM & CONDENSATE PIPING

## SCH D1.A Cmmn Aspects
LIMPOPO DEPARTMENT OF HEALTH - CONTRACT HEDP008/20/21 |  |  |  |  | SCHEDULE D.1.A
STEAM INFRASTRUCTURE |  |  |  |  | v1.0 - Feb'20
SCHEDULE D.1.A |  | CROSS-CUTTING ITEMS
Reference Number |  | DESCRIPTION | UNIT | QTY | RATE Excl. VAT
REMARKS - KEY EXTRACTS FROM THE PRICING INSTRUCTIONS
Introduction The inclusion of the Key Extracts is to emphasize certain instructions stated in Section 2 (Pricing Instructions) and in no way replaces Section 2 in part, or as a whole.
D.1.A. | 1 | Sections 1 & 2: This Rates Table shall be read together with the Particular Specifications and Pricing Instructions. If there is a contradiction in terms between the documents, the requirements of the Pricing Instructions take precedence.
D.1.A. | 2 | Purpose: Rates are required for the maintenance or servicing of the specified equipment and infrastructure at the health facilities of the Limpopo Dept. of Health (LDOH). The work also includes for upgrades to, or installing relevant replacement equipment and infrastructure. Work tasks will be issued on an as-and-when-required basis to contractors, who shall use the items and their approved rates to compile quotes for each work task.
D.1.A. | 3 | Extent of rates: Unless otherwise specified, all rates for materials and equipment should be deemed to ONLY include for the manufacturing, supply, delivery to the contractor’s workshop. The cost of delivery to site, physical replacement and/or installation of materials and equipment, testing and commissioning of the items, will be calculated using the applicable travelling and labour rates.
D.1.A. | 4 | Measurement of travelling trips: A. The Department will consider accepting established workshop(s) of the contractor and its approved subcontractors in Limpopo province as base for calculating trip distances by the contractor to health facilities. Should the contractor have more than one workshop in the province, then the workshop closest to an affected health facility shall be used as base. B. Should the contractor or its approved subcontractors not have a workshop in Limpopo that is accepted by the Department, then the Department’s Head Office at 18 College Street, Polokwane shall serve as base for calculating trip distances to the health facilities. C. In all cases of travelling, the contractor shall endeavour to arrange round trips for a maintenance team to various facilities on the same day, so that the itinerary for the day would result in the more efficient use of labour and travelling time. The first and last trips of the day shall be measured from the Departmental accepted base. In such cases, the inter-facility distance claimed shall be clearly indicated on the relevant job cards and invoices, along with a remark of the movement to the following destination.
D.1.A. | 5 | Travelling time for all specialists, institutional support, staff and labour shall be claimed at 50% of the hourly rate. The full hourly rate applies to office work and on-site work.
D.1.A. | 6 | Duplicate items: Should the this Rates Table contain duplicate items with different rates, the rate for the item that relates to the specific type of work being undertaken, shall apply.
D.1.A. | 7 | Site establishment: Provision has been made in these schedules for site establishment when upgrade work or new installations are required. Ad hoc approval will be given in exceptional cases for establishment on-site for maintenance or servicing work, but it will generally not be allowed.
D.1.A. | 8 | Independant specialists: The contractor will, from time-to-time, be requested by LDOH to appoint Independent Specialists, as listed in the Rates Table. The specialist will directly report to LDOH, but be paid by the contractor.
D.1.A. | 1. | PRELIMINARY & GENERAL
D.1.A. | 1.1 | MARK-UP RATE
D.1.A. | 1.1.1 | Specialist Suppliers & Subcontractors: Percentage mark-up on sub-contractors or suppliers for specialist work, equipment, or materials approved by the client's representative, with attached invoices submitted by such service providers. Refer to Pricing Instructions re: scope and calculation of the mark-up value. | % | Rate only
D.1.A. | 1.1.2 | Unlisted Items: Percentage mark-up on materials, equipment and fittings not included in this Rates Table and approved by the client's representative, with supplier invoices attached. Refer to Pricing Instructions re: the extent of quotes required and the calculation of the mark-up value. | % | Rate only
D.1.A. | 1.2 | CONTRACTOR'S CHARGE FOR OVERHEADS
D.1.A. | 1.2.1 | To include for the contractor’s overheads, management and administration costs required in the management of each Task Instruction issued. Rate per submitted daily job card for each works instruction. A daily job card needs to be completed and signed, and covers all work done on a day at the facility per the Task Instruction. Original signed job cards are to be included with invoices for work done. (Overheads and site establishment costs for work other than maintenance & repairs, is measured elsewhere). | Per job card | Rate only
D.1.A. | 1.3 | HEALTH & SAFETY IN TERMS OF OHS ACT 1993
D.1.A. | 1.3.1 | Compile and submit the Health and Safety Plan: Provision of the Health and Safety Plan on the site for all upgrade work and new installations, in terms of the latest Construction Regulations, OHS Act 1993. Contractor to include proof of notice to Dept. of Labour and of its Section 16.2 site staff mandatory with invoices. | Per installation | Rate only
Note: The scope of repairs, maintenance work, services and replacements implies that the contractor temporarily extends his workshop to site. The contractor is thus required to apply appropriate workplace Health and Safety measures for staff travelling to and working on-site, and include such costs in all rates quoted.
D.1.A. | 1.3.2 | Health & Safety personal protective equipment (PPE) for each local labourer on-site employed for upgrade work and new installations. PPE comprises of the following. Receipts, name lists and ticket numbers of PPE issued, shall be attached to invoices: | per person | Rate only
- Safety boots - Overall - Reflective safety vest - Hard hat - Ear plugs - Protective gloves - Dust masks
D.1.A. | 1.4 | HAND-OVER FILE
D.1.A. | 1.4.1 | For each upgrade or new works task, 1x binded hard copy and 1x soft copy (CD or DVD) of the hand-over file, properly marked (LDOH logo and name, Facility Name; Short description of work done; Completion date; Contractor name). With complete index list and including: | Per works task | Rate only
- Contractor name, street address, contact details - Instruction to perform the work - Description of scope of work - Spares list - Completed and signed statutory certificates - Completed & signed completion certificates - O&M manuals - Equipment list with description, makes, models and serial numbers. - Final invoice for all the works, complete with all supporting documents
D.1.A. | 1.5 | SELECTED SPECIALISTS
D.1.A. | 1.5.A | Selected specialists are to be used on an as-and-when-required basis by LDOH. The contractor will serve as vehicle for procuring the specialist services and paying the specialist, but the specialist directly reports to LDOH. The contractor will sign an agreement with the specialist that the payment for specialist services provided to LDOH will be directly paid by LDOH to the specialist.
D.1.A. | 1.5.1 | Engineering draftsperson | hr | Rate only
D.1.A. | 1.5.2 | Professional mechanical engineer | hr | Rate only
D.1.A. | 1.5.3 | Professional mechanical engineering technician | hr | Rate only
D.1.A. | 1.5.4 | Unregistered mechanical engineering technician (min. 10 years appropriate work experience) | hr | Rate only
D.1.A. | 1.5.5 | Professional electrical engineer | hr | Rate only
D.1.A. | 1.5.6 | Professional electrical engineering technician | hr | Rate only
D.1.A. | 1.5.7 | Professional electronic engineer | hr | Rate only
D.1.A. | 1.5.8 | Professional electronic engineering technician | hr | Rate only
D.1.A. | 1.6 | INSTITUTIONAL SUPPORT
D.1.A. | 1.6.A | Identified staff will be required to provide institutional support to LDOH on an as-and-when needed basis. The post requirements and descriptions are included in Section 1 (Particular Specifications). The contractor will serve as vehicle for procuring the support staff and paying the them, though the staff will report directly to LDOH.
D.1.A. | 1.6.1 | Site staff
D.1.A. | 1.6.1.1 | Electrical engineering technologist | hr | Rate only
D.1.A. | 1.6.1.2 | Electrical engineering technician | hr | Rate only
D.1.A. | 1.6.1.3 | Non Destructive Testing (NDT) Technician. | hr | Rate only
D.1.A. | 1.6.1.4 | Metalurgist | hr | Rate only
D.1.A. | 1.6.2 | In-service training
|  | In-service training of TVET (Technical Vocational Education & Training) students requiring internship work-experience for a maximum period of six month. | Per student per month | Rate only
D.1.A. | 1.6.3 | Corporate Social Responsibility (CSR) activities of contractor
|  | While the contractor is working on-site at a facility, to do minor repairs as a free service at the health facility. Such repairs are limited to: Leaking taps and toilet valves, tightening the screws at door handles and hinges – all to a maximum value of materials of R500 and 1 hour for a semi-skilled labourer per facility. | Sum | Sum | Included in rates
D.1.A. | 1.7 | LABOUR (installation & maintenance)
Remark on construction labour: Normal working hours are 08:00 to 17:00 for each normal working day. Overtime to be paid in terms of latest Labour legislation. Where applicable, the unit cost for overtime worked shall be separately indicated on submitted job cards and quotes. Overtime rates are: - 1,5 x the rate for overtime on normal working days and Saturdays - 2,0 x the rate for public holidays and Sundays
D.1.A. | 1.7.1 | Construction supervisor | hr | Rate only
D.1.A. | 1.7.2 | Foreman | hr | Rate only
D.1.A. | 1.7.3 | Boiler Operators paragraph 17.04 | hr | Rate only
D.1.A. | 1.7.4 | Boiler Cleaners | hr | Rate only
D.1.A. | 1.7.5 | Welder with API 1104 certificate | hr | Rate only
D.1.A. | 1.7.6 | Qualified Electrician | hr | Rate only
D.1.A. | 1.7.7 | Qualified Fitter & turner | hr | Rate only
D.1.A. | 1.7.8 | Qualified Millwright | hr | Rate only
D.1.A. | 1.7.9 | AIA Inspector | hr | Rate only
D.1.A. | 1.7.10 | Artisan Assistant | hr | Rate only
D.1.A. | 1.7.11 | Semi-skilled labourer | hr | Rate only
D.1.A. | 1.7.12 | Unskilled Labourer | hr | Rate only
|  |  | hr | Rate only
D.1.A. | 1.8 | SLEEPING-OUT ALLOWANCE (Maintenance and servicing work tasks only)
D.1.A. | 1.8.1 | Where the scope of the maintenance work requires more than one day on-site and it is more cost effective than having daily return trips to the contractor's base, the contractor is allowed a sleeping-out allowance for its on-site staff. The allowance is to provide for overnight accommodation and meals. The contractor shall obtain prior written approval from LDOH for sleeping-out arrangements. Such approval, together with proof of accommodation shall be attached to the quote for that work task. | Per person per night | Rate only
D.1.A. | 1.9 | TRANSPORT
D.1.A. | 1.9.1 | 4 x 2 LDV (max. 2 500 cm3) | km | Rate only
D.1.A. | 1.9.2 | 4 x 4 LDV (max. 3 000 cm3) | km | Rate only
D.1.A. | 1.9.3 | Flatbed truck - 2 ton to 4 ton. Rate to include driver. | km | Rate only
D.1.A. | 1.9.4 | Flatbed truck - 6 ton to 10 ton. Rate to include driver. | km | Rate only
D.1.A. | 1.9.5 | Flatbed truck - 12 ton to 16 ton. Rate to include driver. | km | Rate only
D.1.A. | 1.9.6 | Lowbed truck and trailer - 20 ton. Rate to include for operator. | h | Rate only
D.1.A. | 1.9.7 | Crane truck - lifting capacity 2 ton to 4 ton. Rate to include for operator. | km | Rate only
D.1.A. | 1.9.8 | 50 Ton self-propelled crane | h | Rate only
D.1.A. | 1.9.9 | 110 Ton self-propelled crane | h | Rate only
D.1.A. | 2. | ANCILLARY ITEMS
DISPOSAL OF REPLACED EQUIPMENT, MATERIALS & BUILDING RUBBLE
D.1.A. | 1.1. | Removal of replaced boiler and steam line equipment and materials | Sum per ticket issued | Rate only
Replaced equipment and materials that are not on the government's asset register, to be acknowledged in writing by the health facility, removed from site and disposed of at a registered solid waste disposal site, or scrap metal yard. Within 50km radius of the facility. REMARK: Equipment that is on the asset register, are to be acknowledged in writing by the heath facility and left at a designated place at the facility - to be disposed of through prescribed processes by the department. Copy of completed and signed disposal form to be included with invoice.
D.1.A. | 1.2 | Extra over: Long overhaul - per SANS 1200DA | load.km | Rate only
D.1.A. | Z. | ADDITIONAL ITEMS NOT INCLUDED IN THE RATES TABLES
D.1.A. | Z.A | If so inclined, the tenderer may add items (with units and rates) of items that were inadvertently omitted from the Rates Tables issued. These WILL NOT BE evaluated for the appointment of contractors to this contract, but could assist if the Rates Tables were to be reviewed during the contract period, or for bettering the quality of future tender Rates Tables.
D.1.A. | Z.B | Should this sheet not provide enough space for the additonal items, the tenderer may attach a sheet with the additional items hereto, clearly marked: "RATES TABLE 9.Z - ADDITIONAL ITEMS NOT INCLUDED IN THE RATES TABLES"
D.1.A. | Z.1 |  |  | Rate only
D.1.A. | Z.2 |  |  | Rate only
D.1.A. | Z.3 |  |  | Rate only
D.1.A. | Z.4 |  |  | Rate only
D.1.A. | Z.5 |  |  | Rate only
D.1.A. | Z.6 |  |  | Rate only
D.1.A. | Z.7 |  |  | Rate only
D.1.A. | Z.8 |  |  | Rate only
D.1.A. | Z.9 |  |  | Rate only
D.1.A. | Z.10 |  |  | Rate only
D.1.A. | Z.11 |  |  | Rate only
D.1.A. | Z.12 |  |  | Rate only
D.1.A. | Z.13 |  |  | Rate only
D.1.A. | Z.14 |  |  | Rate only
D.1.A. | Z.15 |  |  | Rate only
D.1.A. | Z.16 |  |  | Rate only
D.1.A. | Z.17 |  |  | Rate only
D.1.A. | Z.18 |  |  | Rate only
D.1.A. | Z.19 |  |  | Rate only
D.1.A. | Z.20 |  |  | Rate only
D.1.A. | Z.21 |  |  | Rate only
D.1.A. | Z.22 |  |  | Rate only
D.1.A. | Z.23 |  |  | Rate only
D.1.A. | Z.24 |  |  | Rate only
D.1.A. | Z.25 |  |  | Rate only
D.1.A. | Z.26 |  |  | Rate only
D.1.A. | Z.27 |  |  | Rate only
D.1.A. | Z.28 |  |  | Rate only
D.1.A. | Z.29 |  |  | Rate only
D.1.A. | Z.30 |  |  | Rate only

## SCH D1.B BOILER Boiler 2020
LIMPOPO DEPARTMENT OF HEALTH - CONTRACT HEDP008/20/21 |  |  |  |  | SCHEDULE D.1.B
STEAM INFRASTRUCTURE |  |  |  |  | v1.0 - Feb'20
SCHEDULE D.1.B |  | BOILER HOUSE
Reference Number |  | DESCRIPTION | UNIT | QTY | RATE Excl. VAT
D.1.B. | 1 | 15mm copper tubing; class 2; 5.51m length | ea | Rate Only
D.1.B. | 2 | 20mm copper tubing; class 2; 5.5m length | ea | Rate Only
D.1.B. | 3 | 25mm copper tubing; class 2; 5.5m length | ea | Rate Only
D.1.B. | 4 | 80mm copper tubing, class 2 5.5m length | ea | Rate Only
D.1.B. | 5 | 50mm copper tubing, class 2 5.5m length | ea | Rate Only
D.1.B. | 6 | 40mm copper tubing, class 2 5.5m length | ea | Rate Only
D.1.B. | 7 | 15mm heavy duty steam pipe 6,1m length S40 | ea | Rate Only
D.1.B. | 8 | 20mm heavy duty steam pipe 6,1m length S40 | ea | Rate Only
D.1.B. | 9 | 25mm heavy duty steam pipe 6,1m length S40 | ea | Rate Only
D.1.B. | 10 | Valve gland packing 12,5mm roll | ea | Rate Only
D.1.B. | 11 | Valve gland packing 10mm roll | ea | Rate Only
D.1.B. | 12 | Valve gland packing 6mm roll | ea | Rate Only
D.1.B. | 13 | Graphite pipe jointing compound 5kg container | ea | Rate Only
D.1.B. | 14 | PTFE thread sealing tape roll | ea | Rate Only
D.1.B. | 15 | Rope packing; non asbestos; 40mm x 30m roll | ea | Rate Only
D.1.B. | 16 | Rope packing; non asbestos; 25mm x 30m roll | ea | Rate Only
D.1.B. | 17 | Rope packing; non asbestos; 15mm x 30m roll | ea | Rate Only
D.1.B. | 18 | Manhole gaskets, spirally wound; 460mm x 340mm x 5mm thick x 32mm winding width | ea | Rate Only
D.1.B. | 19 | Side wall header gaskets, spirally wound; 125mm x 82mm x 5mm thick x 10mm winding width | ea | Rate Only
D.1.B. | 20 | Gland packing for Sulzer HCP 15-6½ boiler feed water pump; 6 packing per set | ea | Rate Only
D.1.B. | 21 | Lined webbing; non asbestos; rolls of 50mm x 6mm x 30m | ea | Rate Only
D.1.B. | 22 | Packing material: graphite impregnated wire reinforced sheets, 1,2m x 2,4m x 1,5m | ea | Rate Only
D.1.B. | 23 | Packing material: graphite impregnated, wire reinforced sheets 1,2m x 2,4m x 3,0m | ea | Rate Only
D.1.B. | 24 | Acetylene 8,kg cylinder | ea | Rate Only
D.1.B. | 25 | Industrial quality Oxygen 11,5kg cylinder | ea | Rate Only
D.1.B. | 26 | Welding electrodes 2,5mm x 5kg | ea | Rate Only
D.1.B. | 27 | Welding electrodes 3,2mm x 5kg | ea | Rate Only
D.1.B. | 28 | Brazing rods 1,5mm x 5kg | ea | Rate Only
D.1.B. | 29 | Brazing rods 2,5mm x 5kg | ea | Rate Only
D.1.B. | 30 | Brazing flux 500g container | ea | Rate Only
D.1.B. | 31 | Silver solder 100g | ea | Rate Only
D.1.B. | 32 | Copper to copper gas welding rods | kg | Rate Only
D.1.B. | 33 | Gear box oil SAE 90 5 litre container | ea | Rate Only
D.1.B. | 34 | Motor oil SAE 30 5 litre container | ea | Rate Only
D.1.B. | 35 | Hydraulic oil CONDOR 310 20 litre containers | ea | Rate Only
D.1.B. | 36 | Paraffin 20 litre containers | ea | Rate Only
D.1.B. | 37 | General purpose grease 5kg containers | ea | Rate Only
D.1.B. | 38 | High temperature soot blower grease 15kg | ea | Rate Only
D.1.B. | 39 | Bolts, 6mm dia x 25mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 40 | Bolts, 8mm dia x 25mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 41 | Bolts, 8mm dia x 40mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 42 | Bolts, 10mm dia x 25mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 43 | Bolts, 10mm dia x 40mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 44 | Bolts, 10mm dia x 50mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 45 | Bolts, 12mm dia x 40mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 46 | Bolts, 12mm dia x 50mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 47 | Bolts, 16mm dia x 40mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 48 | Bolts, 16mm dia x 50mm dia x 50mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 49 | Bolts, 16mm dia x 65mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 50 | Bolts, 16mm dia x 80mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 51 | Bolts, 16mm dia x 100mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 52 | Bolts, 20mm dia x 50mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 53 | Bolts, 20mm dia x 80mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 54 | Bolts, 20mm dia x 100mm long & nuts (HTS) | kg | Rate Only
D.1.B. | 55 | Paint: PWT TPA no 1; 5 litre containers | ea | Rate Only
D.1.B. | 56 | Refractory Mortar; 25kg bags (Refcast 50) | ea | Rate Only
D.1.B. | 57 | Fibre glass wool sheeting: 50mm x 1,2mm x 6m roll | ea | Rate Only
D.1.B. | 58 | Pressure recorder charts for Negretti and Zambra P/N 9D192X | ea | Rate Only
D.1.B. | 59 | Conveyor belting for ach conveyor 400mm wide x 12mm thick 3 ply | m | Rate Only
D.1.B. | 60 | Troughing rollers for ash conveyor 177mm width x 100mm dia x 25mm shaft dia | ea | Rate Only
D.1.B. | 61 | Return rollers for ash conveyor 485mm width x 100mm dia x 25mm shaft dia | ea | Rate Only
D.1.B. | 62 | Idler rollers for ash conveyor 485mm width x 150mm dia x 25mm shaft dia | ea | Rate Only
D.1.B. | 63 | Compensating rollers for ash conveyor 485mm width x 150mm dia x 25mm shaft dia | ea | Rate Only
D.1.B. | 64 | Conveyor belting for coal conveyor 550mm wide x 12mm thick, 3 ply | m | Rate Only
D.1.B. | 65 | Troughing rollers for coal conveyor 100mm width x 190mm dia x 20mm shaft dia | ea | Rate Only
D.1.B. | 66 | Return rollers for coal conveyor 100mm width x 535mm dia x 20mm shaft dia | ea | Rate Only
D.1.B. | 67 | Roller bearings: SKF 6311 ZZ | ea | Rate Only
D.1.B. | 68 | Roller bearings: SKF 6310 ZZ | ea | Rate Only
D.1.B. | 69 | Roller bearings: SKF 6306 ZZ | ea | Rate Only
D.1.B. | 70 | Roller bearings: SKF 6308 ZZ | ea | Rate Only
D.1.B. | 71 | Roller bearings; MJR 38mm shaft dia | ea | Rate Only
D.1.B. | 72 | Roller bearings; RM 11 | ea | Rate Only
D.1.B. | 73 | Roller bearings; NTN 22211 W 33 K | ea | Rate Only
D.1.B. | 74 | Roller bearings; KOYO 22209 RWK 33 | ea | Rate Only
D.1.B. | 75 | Roller bearings; KOYO 30215J | ea | Rate Only
D.1.B. | 76 | Roller bearings; SKF 6003 | ea | Rate Only
D.1.B. | 77 | 40mm steam Barrel nipples | ea | Rate Only
D.1.B. | 78 | 50mm steam barrel nipples | ea | Rate Only
D.1.B. | 79 | 15mm gate valves | ea | Rate Only
D.1.B. | 80 | 20mm gate valves | ea | Rate Only
D.1.B. | 81 | 25mm gate valves | ea | Rate Only
D.1.B. | 82 | 40mm gate valves | ea | Rate Only
D.1.B. | 83 | 50mm gate valves | ea | Rate Only
D.1.B. | 84 | 15 stainless steel ball valves | ea | Rate Only
D.1.B. | 85 | 20 stainless steel ball valves | ea | Rate Only
D.1.B. | 86 | 25 stainless steel ball valves | ea | Rate Only
D.1.B. | 87 | 15mm long radius 90º steam bend | ea | Rate Only
D.1.B. | 88 | 20mm long radius 90º steam bend | ea | Rate Only
D.1.B. | 89 | 25mm long radius 90º steam bend | ea | Rate Only
D.1.B. | 90 | 40mm long radius 90º steam bend | ea | Rate Only
D.1.B. | 91 | 50mm long radius 90º steam bend | ea | Rate Only
D.1.B. | 92 | 15mm C/C weldon Elbows | ea | Rate Only
D.1.B. | 93 | 20mm C/C Weldon Elbows | ea | Rate Only
D.1.B. | 94 | 25mm C/C Weldon Elbows | ea | Rate Only
D.1.B. | 95 | 40mm C/C Weldon Elbows | ea | Rate Only
D.1.B. | 96 | 50mm C/C Weldon Elbows | ea | Rate Only
D.1.B. | 97 | 15mm C/C Weldon T pieces | ea | Rate Only
D.1.B. | 98 | 20mm C/C Weldon T pieces | ea | Rate Only
D.1.B. | 99 | 25mm C/C Weldon T pieces | ea | Rate Only
D.1.B. | 100 | 40mm C/C Weldon T pieces | ea | Rate Only
D.1.B. | 101 | 50mm C/C Weldon T pieces | ea | Rate Only
D.1.B. | 102 | 15mm C/C Weldon straight connectors | ea | Rate Only
D.1.B. | 103 | 20mm C/C Weldon straight connectors | ea | Rate Only
D.1.B. | 104 | 25mm C/C Weldon straight connectors | ea | Rate Only
D.1.B. | 105 | 45mm C/C Weldon straight connectors | ea | Rate Only
D.1.B. | 106 | 50mm C/C Weldon straight connectors | ea | Rate Only
D.1.B. | 107 | 25 to 15mm C/C Weldon reducing sockets | ea | Rate Only
D.1.B. | 108 | 25 to 20mm C/C Weldon reducing sockets | ea | Rate Only
D.1.B. | 109 | 15mm Spirax ft 14 ball float trap | ea | Rate Only
D.1.B. | 110 | 20mm Spirax ft 14 ball float trap | ea | Rate Only
D.1.B. | 111 | 25mm Spirax ft 14 ball float trap | ea | Rate Only
D.1.B. | 112 | 15mm Armstrong 800 Inverted Bucket Trap | ea | Rate Only
D.1.B. | 113 | 20mm Armstrong 800 Inverted Bucket Trap | ea | Rate Only
D.1.B. | 114 | 20mm Armstrong 812 Inverted Bucket Trap | ea | Rate Only
D.1.B. | 115 | 25mm Armstrong 812 Inverted Bucket Trap | ea | Rate Only
D.1.B. | 116 | 15mm Steam strainer brass body | ea | Rate Only
D.1.B. | 117 | 20mm Steam strainer brass body | ea | Rate Only
D.1.B. | 118 | 25mm Steam strainer brass body | ea | Rate Only
D.1.B. | 119 | 15mm Steam flap type Non return valve | ea | Rate Only
D.1.B. | 120 | 20mm Steam flap type non return valve | ea | Rate Only
D.1.B. | 121 | 25mm Steam flap type non return valve | ea | Rate Only
D.1.B. | 122 | 40mm Steam flap type non return valve | ea | Rate Only
D.1.B. | 123 | 50mm Steam flap type non return valve | ea | Rate Only
D.1.B. | 124 | 15mm Sight glass 50mm single window brass body | ea | Rate Only
D.1.B. | 125 | 20mm Sight glass 50mm single window brass body | ea | Rate Only
D.1.B. | 126 | 25mm Sight glass 50mm single window brass body | ea | Rate Only
D.1.B. | 127 | 15 – 20mm sight glass window repair kit | ea | Rate Only
D.1.B. | 128 | 15mm cone face steam unions | ea | Rate Only
D.1.B. | 129 | 20mm cone face steam unions | ea | Rate Only
D.1.B. | 130 | 25mm cone face steam unions | ea | Rate Only
D.1.B. | 131 | 40mm cone face steam unions | ea | Rate Only
D.1.B. | 132 | 50mm cone face steam unions | ea | Rate Only
D.1.B. | 133 | 15mm S/S trim steam globe valve 1000 kPa | ea | Rate Only
D.1.B. | 134 | 20mm S/S trim steam globe valve 1000 kPa | ea | Rate Only
D.1.B. | 135 | 25mm S/S trim steam globe valve 1000 kPa | ea | Rate Only
D.1.B. | 136 | 40mm S/S trim steam globe valve 1000 kPa | ea | Rate Only
D.1.B. | 137 | 50mm S/S trim steam globe valve 1000 kPa | ea | Rate Only
D.1.B. | 138 | 15mm steam barrel nipples | ea | Rate Only
D.1.B. | 139 | 20mm steam barrel nipples | ea | Rate Only
D.1.B. | 140 | 25mm steam barrel nipples | ea | Rate Only
D.1.B. | 141 | 50 to 40mm C/C reducing sockets | ea | Rate Only
D.1.B. | 142 | 40 to 25mm C/C reducing sockets | ea | Rate Only
D.1.B. | 143 | 40mm Mobrey modulating control valves | ea | Rate Only
D.1.B. | 144 | 40mm Mobrey modulating control valve overall kit | ea | Rate Only
D.1.B. | 145 | 20mm Hornes valves | ea | Rate Only
D.1.B. | 146 | 25mm Hornes valves | ea | Rate Only
D.1.B. | 147 | 40mm Hornes valves | ea | Rate Only
D.1.B. | 148 | 0-100ºC 75mm face dial thermometer | ea | Rate Only
D.1.B. | 149 | 0-100ºC Angle poise thermometer | ea | Rate Only
D.1.B. | 150 | 10mm BSP gauge cock | ea | Rate Only
D.1.B. | 151 | 10mm Syphon tube | ea | Rate Only
D.1.B. | 152 | 15mm Quarter turn valves (Boiler) | ea | Rate Only
D.1.B. | 153 | 20mm Quarter turn valves (Boiler) | ea | Rate Only
D.1.B. | 154 | 15mm Parallel slide valve (Boiler) | ea | Rate Only
D.1.B. | 155 | 20mm Parallel slide valves (Boiler) | ea | Rate Only
D.1.B. | 156 | 25mm Mobrey sequencing valves (Boiler) | ea | Rate Only
D.1.B. | 157 | Pressure gauge 100mm dia bottom entry x 10mm BSP thread range 0 to 2000 kPA | ea | Rate Only
D.1.B. | 158 | Nylatron Elevator Buckets Outside length 320mm width 180mm depth 130mm projection 165mm wall thickness 8mm approx weight 1,13kg approx capacity 4,50 litre | ea | Rate Only
D.1.B. | 159 | Coal screws flight pitch 150mm x 14m | ea | Rate Only
D.1.B. | 160 | Gear box make ISQ 206118, Type VF130AP13285 Ratio 30MTGB3 | ea | Rate Only
D.1.B. | 161 | Motor 5.5kw 380 Volt 3PH | ea | Rate Only
D.1.B. | 162 | Cross feed flight pitch 200mm x 17m | ea | Rate Only
D.1.B. | 163 | Gear box make ISQ 206118, Type VF130AP13285 Ratio 30MTGB3 | ea | Rate Only
D.1.B. | 165 | Feed water pumps Grundfos Model no. A96501222P31233 | ea | Rate Only
D.1.B. | 166 | Feed water pumps stork MCH 14A-7 | ea | Rate Only
D.1.B. | 167 | Elevator belt buckets 150 x 115 x 85mm | ea | Rate Only
D.1.B. | 168 | Guillotine door cables 6mm x 450mm | ea | Rate Only
D.1.B. | 169 | Bearings FJU210 flanges | ea | Rate Only
D.1.B. | 170 | V belts SPZ1600 | ea | Rate Only
D.1.B. | 171 | V belts 16 N x 3170 | ea | Rate Only
D.1.B. | 172 | 20mm gauge column glass tubes | ea | Rate Only
D.1.B. | 173 | 20mm gauge column glass tube cone rubbers | ea | Rate Only
D.1.B. | 174 | Horns valves ¾” | ea | Rate Only
D.1.B. | 175 | Complete John Thompson boiler control panel | ea | Rate Only
D.1.B. | 176 | Complete Premier metal boiler control panel | ea | Rate Only
D.1.B. | 177 | Blower motor | ea | Rate Only
D.1.B. | 178 | Blower motor gasket | ea | Rate Only
D.1.B. | 179 | Fuel nozzle | ea | Rate Only
D.1.B. | 180 | Burner head | ea | Rate Only
D.1.B. | 181 | Burner cone | ea | Rate Only
D.1.B. | 182 | Burner head gasket | ea | Rate Only
D.1.B. | 183 | Burner blower housing | ea | Rate Only
D.1.B. | 184 | Front end gasket | ea | Rate Only
D.1.B. | 185 | Rear end gasket | ea | Rate Only
D.1.B. | 186 | 50mm cast steel straight globe valve | ea | Rate Only
D.1.B. | 187 | 40MM blow down valve | ea | Rate Only
D.1.B. | 188 | Grit trolley | ea | Rate Only
D.1.B. | 189 | Fuel trim 73/6000 (151294/151309POT+KNOB) JT | ea | Rate Only
D.1.B. | 190 | Water Mert Kent WP4000 2” (SENS 1566131) | ea | Rate Only
D.1.B. | 191 | Condensate meter Meinecke WPD 50 2” | ea | Rate Only
D.1.B. | 192 | Ware Control valve Bernad 0276000 | ea | Rate Only
D.1.B. | 193 | Level switch Mobrey | ea | Rate Only
D.1.B. | 194 | Rope packing; non asbestos; 15mm x 30mm per roll | ea | Rate Only
D.1.B. | 195 | Manhole gaskets, spirally wound; 405mm x 305mm x 5mm thick x 32mm winding width | ea | Rate Only
D.1.B. | 196 | Lined webbing, non asbestos; 50mm x 6mm x 30mm | ea | Rate Only
D.1.B. | 197 | Packing material: 1,5mm Graphite impregnated, wire reinforced sheet 1,2m x 2,4m x 1,5m | ea | Rate Only
D.1.B. | 198 | Packing material: 3mm Graphite impregnated, wire reinforced sheet | ea | Rate Only
D.1.B. | 199 | Paint: PWT TPA no 1 container | ea | Rate Only
D.1.B. | 200 | Refractory mortar; (Refcast 50) | ea | Rate Only
D.1.B. | 201 | Fibre glass wool sheeting rolls 50mm x 1,2m | ea | Rate Only
D.1.B. | 202 | Conveyor belting for ash elevator 200mm wide x 10mm thick-3py | ea | Rate Only
D.1.B. | 203 | Parts for: Mark 4 Stoker for the boilers | ea | Rate Only
D.1.B. | 204 | Stoker mat common links | ea | Rate Only
D.1.B. | 205 | Stoker mat drive links | ea | Rate Only
D.1.B. | 206 | Stoker mat drive sprockets | ea | Rate Only
D.1.B. | 207 | Stoker roller | ea | Rate Only
D.1.B. | 208 | Stoker links rods | ea | Rate Only
D.1.B. | 209 | Carbo-frax blocks | ea | Rate Only
D.1.B. | 210 | Carbo-frax blocks supports | ea | Rate Only
D.1.B. | 211 | Carbo-frax end blocks | ea | Rate Only
D.1.B. | 212 | Carbo-frax distant pieces | ea | Rate Only
D.1.B. | 213 | Washers 14mm | ea | Rate Only
D.1.B. | 214 | 3mm split pins | ea | Rate Only
D.1.B. | 215 | Guillotine door 1050 x 300 x 90 | ea | Rate Only
D.1.B. | 216 | Feed water pump Calpido CP3KW 5.8 amp 380 Volt | ea | Rate Only
D.1.B. | 217 | Ash extractor frame complete | ea | Rate Only
D.1.B. | 218 | 5 groove pulleys | ea | Rate Only
D.1.B. | 219 | Mobrey control valve PC board Type 86436 | ea | Rate Only
D.1.B. | 220 | Level switch Mobrey | ea | Rate Only
D.1.B. | 221 | Sautor electric motor IP 55 ID | ea | Rate Only
D.1.B. | 222 | FD electrical motor (SMM) Squirrel cage 3 phase TEFC D1325 5,5KW | ea | Rate Only
D.1.B. | 223 | Stoker electrical motor R47 DT 80K4 0,55 KW | ea | Rate Only
D.1.B. | 224 | ID fan electrical motor AFMAC model 6312 30KW | ea | Rate Only
D.1.B. | 225 | Feed pump electrical motor hawker sidely DF 160 MP 15KW 80C rise 3 phase | ea | Rate Only
D.1.B. | 226 | Feed Pump electrical motor WEG 160M 15KW 3 phase | ea | Rate Only
D.1.B. | 227 | Feed pump electrical motor Siemens K4 95503 15KW 3 phase | ea | Rate Only
D.1.B. | 228 | Electrical motor 0,75 KW 3 phase RPM 2850 230-240 volts | ea | Rate Only
D.1.B. | 229 | Electrical motor Moway CMC075T 0,55KW 0,75HP RPM2800 | ea | Rate Only
D.1.B. | 230 | Electrical motor Ebara CMAR-00T 0,75KW RPM2850 1,0HP | ea | Rate Only
D.1.B. | 231 | Bearings SKF 6208 | ea | Rate Only
D.1.B. | 232 | Bearings 630903/2 | ea | Rate Only
D.1.B. | 233 | Steam Separator 6” | ea | Rate Only
D.1.B. | 234 | Expansion Bellows 5” single | ea | Rate Only
D.1.B. | 235 | expansion bellows5" double | ea | Rate Only
D.1.B. | 236 | Grit trolley | ea | Rate Only
D.1.B. | 237 | Fuel trim 73/6000 | ea | Rate Only
D.1.B. | 238 | Water Mert Kent WP4000 2” | ea | Rate Only
D.1.B. | 239 | Condensate meter Meinecke WPD 50 2” | ea | Rate Only
D.1.B. | 240 | Ware Control valve Bernad 0276000 | ea | Rate Only
D.1.B. | 241 | COAL FIRED BOILERS
D.1.B. | 242 | Preparation for statutory inspection as per item 2 – 1 Ton up to 2 ½ ton | sum | Rate Only
D.1.B. | 243 | Preparation for statutory inspection as per item 2 – 2 1/2 Ton up to 5 ton | sum | Rate Only
D.1.B. | 244 | Preparation for statutory inspection as per item 2 – 5 Ton up to 7 ½ ton | sum | Rate Only
D.1.B. | 245 | Preparation for statutory inspection as per item 2 – 7 1/2 Ton up to 10 ton | sum | Rate Only
D.1.B. | 246 | Preparation for statutory inspection as per item 2 – 10 Ton up to 15 ton | sum | Rate Only
D.1.B. | 247 | Preparation for statutory inspection as per item 2 – 15 Ton up to 20 ton | sum | Rate Only
D.1.B. | 248 | WATER TUBE BOILERS
D.1.B. | 249 | Preparation for statutory inspection as per item 2 – Water tube boilers 13 ton | sum | Rate Only
D.1.B. | 250 | DUAL FUEL BOILERS
D.1.B. | 251 | Preparation for statutory inspection as per item 2 – 1 Ton up to 2 ½ ton | sum | Rate Only
D.1.B. | 252 | Preparation for statutory inspection as per item 2 – 2 1/2 Ton up to 5 ton | sum | Rate Only
D.1.B. | 253 | Preparation for statutory inspection as per item 2 – 5 Ton up to 7 ½ ton | sum | Rate Only
D.1.B. | 254 | Preparation for statutory inspection as per item 2 – 7 1/2 Ton up to 10 ton | sum | Rate Only
D.1.B. | 255 | Preparation for statutory inspection as per item 2 – 10 Ton up to 15 ton | sum | Rate Only
D.1.B. | 256 | Preparation for statutory inspection as per item 2 – 15 Ton up to 20 ton | sum | Rate Only

## SCHD1.C STEAM Piping 2020
LIMPOPO DEPARTMENT OF HEALTH - CONTRACT HEDP008/20/21 |  |  |  |  | SCHEDULE D.1.C
STEAM INFRASTRUCTURE |  |  |  |  | v1.0 - Feb'20
SCHEDULE D.1.C |  | STEAM & CONDENSATE PIPING
Reference Number |  | DESCRIPTION | UNIT | QTY | RATE Excl. VAT
D.1.C. | 1 | 15mm ball float valve | ea | Rate only
D.1.C. | 2 | 20mm ball float valve | ea | Rate only
D.1.C. | 3 | 25mm ball float valve | ea | Rate only
D.1.C. | 4 | 15mm Steam barrel nipples | ea | Rate only
D.1.C. | 5 | 20mm Steam barrel nipples | ea | Rate only
D.1.C. | 6 | 25mm Steam barrel nipples | ea | Rate only
D.1.C. | 7 | 40mm Steam barrel nipples | ea | Rate only
D.1.C. | 8 | 50mm Steam barrel nipples | ea | Rate only
D.1.C. | 9 | Armstrong 800 Steam trap repair kit: 4.27mm orifice | ea | Rate only
D.1.C. | 10 | Armstrong 800 Steam trap gasket sets | ea | Rate only
D.1.C. | 11 | 15mm Spirax FT14 Steam traps | ea | Rate only
D.1.C. | 12 | 20mm FT14 Spirax Steam traps | ea | Rate only
D.1.C. | 13 | 25mm FT14 Spirax Steam traps | ea | Rate only
D.1.C. | 14 | 15 to 20mm Spirax Sarco sight glass window repair kits | ea | Rate only
D.1.C. | 15 | 15mm brass horns valves | ea | Rate only
D.1.C. | 16 | 20mm brass horns valves | ea | Rate only
D.1.C. | 17 | 25mm brass horns valves | ea | Rate only
D.1.C. | 18 | 32mm brass horns valves | ea | Rate only
D.1.C. | 19 | 15mm S’S trim globe valve 10 bar | ea | Rate only
D.1.C. | 20 | 20mm S’S trim globe valve 10 bar | ea | Rate only
D.1.C. | 21 | 25mm S’S trim globe valve 10 bar | ea | Rate only
D.1.C. | 22 | 15mm cone face steam unions | ea | Rate only
D.1.C. | 23 | 20mm cone face steam unions | ea | Rate only
D.1.C. | 24 | 25mm cone face steam unions | ea | Rate only
D.1.C. | 25 | 15mm copper tubing, class 2 5.5m length | ea | Rate only
D.1.C. | 26 | 20mm copper tubing, class 2 5.5m length | ea | Rate only
D.1.C. | 27 | 25mm copper tubing, class 2 5.5m length | ea | Rate only
D.1.C. | 28 | 40mm copper tubing, class 2 5.5m length | ea | Rate only
D.1.C. | 29 | 50mm copper tubing, class 2 5.5m length | ea | Rate only
D.1.C. | 30 | 80mm copper tubing, class 2 65.5m length | ea | Rate only
D.1.C. | 31 | 15mm heavy duty steam pipe 6,1m length S40 | ea | Rate only
D.1.C. | 32 | 20mm heavy duty steam pipe 6,1m length S40 | ea | Rate only
D.1.C. | 33 | 25mm heavy duty steam pipe 6,1m length S40 | ea | Rate only
D.1.C. | 34 | 40mm heavy duty steam pipe 6,1m length S40 | ea | Rate only
D.1.C. | 35 | 50mm heavy duty steam pipe 6,1m length S40 | ea | Rate only
D.1.C. | 36 | 80mm heavy duty steam pipe 6,1m length S40 | ea | Rate only
D.1.C. | 37 | Valve gland packing 12,5mm | ea | Rate only
D.1.C. | 38 | Valve gland packing 10mm | ea | Rate only
D.1.C. | 39 | Valve gland packing 6mm | ea | Rate only
D.1.C. | 40 | Graphite pipe jointing compound; 5kg container | ea | Rate only
D.1.C. | 41 | Rope packing; non asbestos; 40mm x 30mm | ea | Rate only
D.1.C. | 42 | Rope packing; non asbestos; 25mm x 30mm | ea | Rate only
D.1.C. | 43 | 15mm flap type brass body non return valves | ea | Rate only
D.1.C. | 44 | 20mm flap type brass body non return valves | ea | Rate only
D.1.C. | 45 | 25mm flap type brass body non return valves | ea | Rate only
D.1.C. | 46 | 40mm flap type brass body non return valves | ea | Rate only
D.1.C. | 47 | 50mm flap type brass body non return valves | ea | Rate only
D.1.C. | 48 | 15mm steam strainers, brass body | ea | Rate only
D.1.C. | 49 | 20mm steam strainers, brass body | ea | Rate only
D.1.C. | 50 | 25mm steam strainers, brass body | ea | Rate only
D.1.C. | 51 | 40mm steam strainers, brass body | ea | Rate only
D.1.C. | 52 | 50mm steam strainers, brass body | ea | Rate only
D.1.C. | 53 | Rope packing; non asbestos; 15mm x 30mm | ea | Rate only
D.1.C. | 54 | Packing material: 1,5mm Graphite impregnated, wire reinforced sheet 1,2m x 2,4m x 1,5m | ea | Rate only
D.1.C. | 55 | Packing material: 3mm Graphite impregnated, wire reinforced sheet | ea | Rate only
D.1.C. | 56 | Valve gland packing 8mm | ea | Rate only
D.1.C. | 57 | Paint: PWT TPA no 1 container | litre | Rate only
D.1.C. | 58 | Fibre glass wool sheeting rolls 50mm x 1,2m | ea | Rate only
D.1.C. | 59 | Pressure Guage, 100mm dia, bottom entry x 10mm BSP thread, range 0 to 2000 KPA | ea | Rate only
D.1.C. | 60 | 10mm siphon tube | ea | Rate only
D.1.C. | 61 | 10mm cock valves | ea | Rate only
D.1.C. | 62 | 15mm TLV steam traps | ea | Rate only
D.1.C. | 63 | 20mm TLV steam traps | ea | Rate only
D.1.C. | 64 | 25mm TLV steam traps | ea | Rate only
D.1.C. | 65 | Steam Separator 6” | ea | Rate only
D.1.C. | 66 | Expansion Bellows 5” | ea | Rate only
D.1.C. | 67 | Lagging preformed pipe section fiber glass ½” | ea | Rate only
D.1.C. | 68 | Lagging preformed pipe section fiber glass ¾” | ea | Rate only
D.1.C. | 69 | Lagging preformed pipe section fiber glass 1” | ea | Rate only
D.1.C. | 70 | Lagging preformed pipe section fiber glass 1½” | ea | Rate only
D.1.C. | 71 | ½ ” brass globe valves | ea | Rate only
D.1.C. | 72 | ¾” brass globe valves | ea | Rate only
D.1.C. | 73 | 1” brass globe valves | ea | Rate only
D.1.C. | 74 | 1 ½” brass globe valves | ea | Rate only
D.1.C. | 75 | Lagging preformed pipe section fiber glass 1 ¾” | ea | Rate only
D.1.C. | 76 | Lagging preformed pipe section fiber glass 2” | ea | Rate only
D.1.C. | 77 | Lagging preformed pipe section fiber glass 2½” | ea | Rate only
D.1.C. | 78 | Lagging preformed pipe section fiber glass 2 ¾” | ea | Rate only
D.1.C. | 79 | Lagging preformed pipe section fiber glass 3” | ea | Rate only
D.1.C. | 80 | Lagging preformed pipe section fiber glass 4” | ea | Rate only
D.1.C. | 81 | Lagging preformed pipe section fiber glass 5” | ea | Rate only
D.1.C. | 82 | Lagging preformed pipe section fiber glass 6” | ea | Rate only
D.1.C. | 83 | Galvanized muffs ½” | ea | Rate only
D.1.C. | 84 | Galvanized muffs ¾” | ea | Rate only
D.1.C. | 85 | Galvanized muffs 1” | ea | Rate only
D.1.C. | 86 | Galvanized muffs 1½” | ea | Rate only
D.1.C. | 87 | Galvanized muffs 1¾” | ea | Rate only
D.1.C. | 88 | Galvanized muffs 2” | ea | Rate only
D.1.C. | 89 | Galvanized muffs 2½” | ea | Rate only
D.1.C. | 90 | Galvanized muffs 2¾” | ea | Rate only
D.1.C. | 91 | Galvanized muffs 3” | ea | Rate only
D.1.C. | 92 | Galvanized muffs 4” | ea | Rate only
D.1.C. | 93 | Galvanized muffs 5” | ea | Rate only
D.1.C. | 94 | Galvanized muffs 6” | ea | Rate only
D.1.C. | 95 | 40mm conex straight connector | ea | Rate only
D.1.C. | 96 | 50mm conex straight connector | ea | Rate only
D.1.C. | 97 | Gate valves ½” | ea | Rate only
D.1.C. | 98 | Gate valves ¾” | ea | Rate only
D.1.C. | 99 | Gate valves 1” | ea | Rate only
D.1.C. | 100 | Gate valves 1 ½” | ea | Rate only
D.1.C. | 101 | Gate valves 1 ¾” | ea | Rate only
D.1.C. | 102 | Gate valve 2” | ea | Rate only
D.1.C. | 103 | Gate valve 3” | ea | Rate only
D.1.C. | 104 | Gate valve 4” | ea | Rate only
D.1.C. | 105 | 15mm cast steel body strainer | ea | Rate only
D.1.C. | 106 | 20mm cast steel body strainer | ea | Rate only
D.1.C. | 107 | 25mm cast steel body strainer | ea | Rate only
D.1.C. | 108 | 40mm cast steel body strainer | ea | Rate only
D.1.C. | 109 | 1/2 “ brass angle globe valve | ea | Rate only
D.1.C. | 110 | 1½” brass globe valve | ea | Rate only
D.1.C. | 111 | Temperature Thermometer Ispesl 0-120ºC | ea | Rate only
D.1.C. | 112 | Pressure relieve Bailey 323 2” | ea | Rate only
D.1.C. | 113 | 15mm pressure reducing valve 100-700 Kpa | ea | Rate only
D.1.C. | 114 | Pressure reducing valves ¾” 100-700KPA | ea | Rate only
D.1.C. | 115 | Circulating pump Moway | ea | Rate only
D.1.C. | 116 | Condensate pump Mand B 40M0/75 | ea | Rate only
D.1.C. | 117 | Level switch Mobrey | ea | Rate only
D.1.C. | 118 | Safety valve pull up type ¾” | ea | Rate only
D.1.C. | 119 | Safety valve pull up type 1” | ea | Rate only
D.1.C. | 120 | Central Heating radiators | ea | Rate only
D.1.C. | 121 | Central Heating Pearch Cocks | ea | Rate only
D.1.C. | 122 | 15mm conex male adaptor | ea | Rate only
D.1.C. | 123 | 20mm conex male adaptor | ea | Rate only
D.1.C. | 124 | 25mm conex male adaptor | ea | Rate only
D.1.C. | 125 | 15mm conex straight connector | ea | Rate only
D.1.C. | 126 | 20mm conex straight connector | ea | Rate only
D.1.C. | 127 | 25mm conex straight connector | ea | Rate only
D.1.C. | 128 | 50mm cast steel globe valves | ea | Rate only
D.1.C. | 129 | 65mm cast steel globe valves | ea | Rate only
D.1.C. | 130 | 75mm cast steel globe valves | ea | Rate only
D.1.C. | 131 | 15mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 132 | 20mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 133 | 25mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 134 | 32mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 135 | 40mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 136 | 50mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 137 | 65mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 138 | 75mm cast steel pressure reducing valves | ea | Rate only
D.1.C. | 139 | 300 litre vertical calorifiers | ea | Rate only
D.1.C. | 140 | 500 litre vertical calorifiers | ea | Rate only
D.1.C. | 141 | 1000 litre vertical calorifiers | ea | Rate only
D.1.C. | 142 | 2000 litre vertical calorifiers | ea | Rate only
D.1.C. | 143 | 3000 litre vertical calorifiers | ea | Rate only
D.1.C. | 144 | 300 litre horizontal calorifiers | ea | Rate only
D.1.C. | 145 | 500 litre horizontal calorifiers | ea | Rate only
D.1.C. | 146 | 1000 litre horizontal calorifiers | ea | Rate only
D.1.C. | 147 | 2000 litre horizontal calorifiers | ea | Rate only
D.1.C. | 148 | 3000 litre horizontal calorifiers | ea | Rate only
D.1.C. | 149 | Condensate pump Ebara CMA.075 T | ea | Rate only
D.1.C. | 150 | Condensate pump Ebara CMA.100 T | ea | Rate only
D.1.C. | 151 | Condensate pump Ebara CMA.200 T | ea | Rate only
D.1.C. | 152 | 15mm brass angle globe valves | ea | Rate only
D.1.C. | 153 | 20mm brass angle globe valves | ea | Rate only
D.1.C. | 154 | 25mm brass angle globe valves | ea | Rate only
D.1.C. | 155 | 15mm 90° BSP thread steam elbows | ea | Rate only
D.1.C. | 156 | 20mm 90° BSP thread steam elbows | ea | Rate only
D.1.C. | 157 | 25mm 90° BSP thread steam elbows | ea | Rate only
D.1.C. | 158 | 15mm 90° BSP thread steam bends | ea | Rate only
D.1.C. | 159 | 20mm 90° BSP thread steam bends | ea | Rate only
D.1.C. | 160 | 25mm 90° BSP thread steam bends | ea | Rate only
D.1.C. | 161 | 15mm 90° weld on black elbows | ea | Rate only
D.1.C. | 162 | 20mm 90° weld on black elbows | ea | Rate only
D.1.C. | 163 | 25mm 90° weld on black elbows | ea | Rate only
D.1.C. | 164 | 15mm 90° weld on black bends | ea | Rate only
D.1.C. | 165 | 20mm 90° weld on black bends | ea | Rate only
D.1.C. | 166 | 25mm 90° weld on black bends | ea | Rate only
D.1.C. | 167 | Key Steel 6mm | ea | Rate only
D.1.C. | 168 | Key steel 8 mm | ea | Rate only
D.1.C. | 169 | Key steel 10mm | ea | Rate only
D.1.C. | 170 | Key steel 12 mm | ea | Rate only
D.1.C. | 171 | 2.5mm mild steel welding rods | ea | Rate only
D.1.C. | 172 | PTFE thread tape | Roll | Rate only
D.1.C. | 173 | M6 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 174 | M8 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 175 | M10 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 176 | M12 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 178 | M14 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 179 | M16 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 180 | M20 x 50mm mild bolts and nuts | ea | Rate only
D.1.C. | 181 | M6 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 182 | M8 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 183 | M10 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 184 | M12 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 185 | M14 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 186 | M16 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 187 | M20 x 100mm mild bolts and nuts | ea | Rate only
D.1.C. | 188 | BSP thread reducing bushes 15-10mm | ea | Rate only
D.1.C. | 189 | BSP thread reducing bushes 20-15mm | ea | Rate only
D.1.C. | 190 | BSP thread reducing bushes 20-10mm | ea | Rate only
D.1.C. | 191 | BSP thread reducing bushes 25-10mm | ea | Rate only
D.1.C. | 192 | BSP thread reducing bushes 25-15mm | ea | Rate only
D.1.C. | 193 | BSP thread reducing bushes 25-20mm | ea | Rate only
D.1.C. | 194 | Square condensate tanks 300 litre | ea | Rate only
D.1.C. | 195 | Square condensate tanks 500 litre | ea | Rate only
D.1.C. | 196 | Square condensate tanks 1000 litre | ea | Rate only
D.1.C. | 197 | Condensate tank level switches float type | ea | Rate only
D.1.C. | 198 | Condensate tank level switches liquid level 3 probes | ea | Rate only